****

CERTIFICATE OF ANALYSIS

PRODUCT DESCRIPTION: Buffered Phosphate Dilution Water Item No.: 3024-25

VOLUME 5 gallon LOT No. 171602 EXP. DATE 09/2017

|  |  |  |  |
| --- | --- | --- | --- |
| TEST | RESULTS | SPECIFICATION | METHOD |
| pH | 7.2 | 7.2 ± 0.2 | WS cSOP 8.0 |
| TOXICITY \* | Count at 0 minutes: 36  Count at 45 minutes: 35 | < 20 % decrease | WS cSOP 24.3 |
| FILL VOLUME | CONFORMS | LABEL | WS SOP CP3024-25.2.2 |
| COLOR | CONFORMS | CLEAR, COLORLESS,  NO FOREIGN MATTER | VISUAL |
| PACKAGE  INTEGRITY  JERRYCAN | CONFORMS | NO LOOSE CAPS  NO LEAKAGE | VISUAL |
| PACKAGE  MARKINGS | CONFORMS | CONFORMS  TO WS STD | WS SOP CP3024-25.4.0 |
| WATER  QUALITY | CONFORMS | MICROBIO-  LOGICALLY  SUITABLE | *SMEWW*  TABLE 9020:II |

Reference: *Standard Methods for the Examination of Dairy Products,* 17th edition, 2004, 4.020 – 4.042; *Standard Methods for the Examination of Water and Wastewater*, 20th edition

\*TEST PERFORMED AT COMMERCIAL LAB: New Jersey Laboratories

*..\..\..\..\Logo\FW_signature.gif*

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Made By:

Weber Scientific

2732 Kuser Road

Hamilton, NJ 08691

(609)-584-7677

Fred Weber

President

Date *October 19, 2016*