1.  Processor

Intel Core 2 Duo 2.20 GHz, Core i3 2.2 GHz or higher

2.  Memory

3.0 GB, DDR2-667 SDRAM or higher

3.  Screen Resolution of Monitor

High resolution monitor (minimum 1366 X 768 pixels; recommended 1600 X 900 pixels or higher).

4.  Hard Disk

Minimum 80 GB, 7200 RPM, recommended 160 GB or higher for high patient flow site (more than 30 B-Scans per month).

5.  USB Ports

Minimum of 2 USB 2.0

6.  Medical Grade Power Supply

7.  Software and Operation System (OS)

Windows 7®, 8®, Microsoft Windows® Vista or Microsoft Windows® XP Professional Edition, SP2